## Slide 1: Motion Artifacts

## Slide 2: What’s the most common source of physiological noise?

## Slide 3: Head Motion: Main Artifacts
  Head motion leads to spurious activation
    most noticeable at edges
  Regions of interest shift over time
  Motion of head (or any other large mass) leads to changes to field map

## Slide 4: Head Motion: Main Artifacts
  Head motion leads to spurious activation
    most noticeable at edges
  Regions of interest shift over time
  Motion of head (or any other large mass) leads to changes to field map

## Slide 5: Motion Artifacts: z direction
Time1
Time2

## Slide 6: Motion Artifacts: z direction
Time1
Time2

## Slide 7: Motion Artifacts: z direction
Time1
Time2

## Slide 8: Motion Artifacts: z direction
Time1
Time2
Time1
-
Time2

## Slide 9: Motion Artifacts: y direction
Time1
Time2
Time1
-
Time2

## Slide 10: Spurious Activation at Edges

## Slide 11: A Map of Noise
voxels with high variability shown in white
Huettel, Song & McCarthy, 2004, Functional Magnetic Resonance Imaging

## Slide 12: Head Motion: Main Artifacts
  Head motion leads to spurious activation
    most noticeable at edges
  Regions of interest shift over time
  Motion of head (or any other large mass) leads to changes to field map
Time1
Time2

## Slide 13: Motion Correction

## Slide 14: Motion Correction Algorithms
Most algorithms assume a rigid body (i.e., that brain doesn’t deform with movement)
Align each volume of the brain to a target volume using six parameters: three translations and three rotations
Target volume: the functional volume that is closest in time to the anatomical image
x translation
z translation
y translation
pitch
roll
yaw

## Slide 15: Reference Volume
After motion correction, you want all of your data aligned to a functional reference volume and aligned to the anatomical scan
Strategy 1
  align each volume of each run to one reference volume (ideally the one that was collected closest in time to the anatomical scan)
R1V1
R1V2
R1V3
R1V4
R2V1
R2V2
R2V3
R2V4
Anat
R1V1
R1V2
R1V3
R1V4
R2V1
R2V2
R2V3
R2V4
Anat
Strategy 2
  align each volume of each run to one reference volume (ideally the one that was collected closest in time to the anatomical scan

## Slide 16: Motion Correction During Single Run

## Slide 17: Head Motion: Good, Bad,…
Slide from Duke course
run 1
run 2
run 3
run 4
run 5
run 6

## Slide 18: … and really, really ugly!
Slide from Duke course

## Slide 19: Head Motion: Main Artifacts
  Head motion leads to spurious activation
    most noticeable at edges
  Regions of interest shift over time
  Motion of head (or any other large mass) leads to signal distortions

## Slide 20: Mass Motion Artifacts
motion of any mass in the magnetic field, including the head, is a problem
head
coil
arm brace
gaze
grasparatus
brace

## Slide 21: Mass Motion Artifacts
Grasping and reaching data from block designs
circa 1998
Time Course:
% Signal Change
-4
0
7
Time (seconds)
150
30
60
90
120
0
Left
Right
Left
Right
Left
.60
-.60
1.0
-1.0
r value
-0.4
0
0.6
Time (seconds)
150
30
60
90
120
0
Motion Detected (mm or degrees)
Motion Correction Parameters
Even in the absence of head motion, mass motion creates huge problems
30 s
30 s
Where is the signal correlated with the mass position?
phantom
(fluid-filled
sphere)
Culham, chapter in Cabeza & Kingstone, Handbook of Functional Neuroimaging of Cognition (2nd ed.), 2006
0
0
900

## Slide 22: Mass Motion Distort Magnetic Field
Barry et al., 2009, Magnetic Resonance Imaging

## Slide 23: Motion Correction Algorithms
Existing algorithms correct two of our three problems:
  Head motion leads to spurious activation
  Regions of interest move over time
  Motion of head (or any other large mass) leads to changes to field map
Sometimes algorithms can introduce artifacts that weren’t there in the first place (Friere & Mangin, 2001, NeuroImage)
√
√
X

## Slide 24: The Fridge Rule
When it doubt, throw it out!

## Slide 25: Head Restraint
Head Vise
(more comfortable than it sounds!)
Bite Bar
Often a bunch of foam padding works as well as anything
Vacuum Pack
Thermoplastic mask

## Slide 26: Prevention is the Best Remedy
Tell your subjects how to be good subjects
  “Don’t move” is too vague
Make sure the subject is comfy going in
  avoid “princess and the pea” phenomenon
Emphasize importance of not moving at all during beeping
  do not change posture
  if possible, do not swallow
  do not change posture
  do not change mouth position
  do not tense up at start of scan
Discourage any movements that would displace the head between scans
Do not use compressible head support
For a summary of info to give first-time subjects, see
    http://www.culhamlab.com/participants/

## Slide 27: Mock “0 T” Scanners
Notes: http://depts.washington.edu/chdd/iddrc/cores/bi.html